WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Water Supply Information

Water resources held by South Gippsland Water for the Meeniyan Water Supply System are shown below.  Only 5% of the available annual entitlement has been used from the river in the current year to date (Jul-Sep 2025).  This entitlement is a legal right to access water, subject to availability.

| Water Component | Maximum Annual Entitlement | Volume Extracted 2025-26 | Volume Remaining 2025-26 |
| --- | --- | --- | --- |
| Tarwin River at Meeniyan | 200 ML | 10 ML | 190 ML |

Water Consumption

Monthly water consumption for the Meeniyan Water Supply System in the year to date has been below the average demand over the last five years. Water consumption is expected to remain close to the historical average for the remainder of the year.

Water Consumption

Monthly water consumption for the Meeniyan Water Supply System in the year to date has been below the average demand over the last five years. Water consumption is expected to remain close to the historical average for the remainder of the year.

Meeniyan Water Supply System

Meeniyan Water Supply System

Meeniyan is supplied from the Tarwin River.

After diversion from the river, water is stored in a raw water basin prior to treatment and storage in a water tower.  This water tower helps South Gippsland Water to maintain supply during peak demand periods in the morning and evening.

Meeniyan is supplied from the Tarwin River.

After diversion from the river, water is stored in a raw water basin prior to treatment and storage in a water tower.  This water tower helps South Gippsland Water to maintain supply during peak demand periods in the morning and evening.

South Gippsland Water

1300 851 636

www.sgwater.com.au

South Gippsland Water

1300 851 636

www.sgwater.com.au

WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Climate Conditions

Forecast climate conditions for the coming three months have considered the Bureau of Meteorology’s seasonal climate forecast for the region and local climate conditions in the year to date.  Winter/spring rainfall in the year to date has been less than the long-term average, and the Bureau’s climate outlook indicates an even chance of wetter or drier than usual conditions over the next three months.  Air temperature is forecast over the next three months to be warmer than usual for this time of year, and this trend is expected to continue beyond this period. After taking these factors into account, South Gippsland Water is forecasting on the basis of an average climate scenario.

| Chance of Exceeding Median Rainfall | Chance of Exceeding Median Maximum Temperature | This Year’s Winter/Spring Rainfall | Likely Outlook Scenario |
| --- | --- | --- | --- |
| 50-55% | Greater than 80% | Below Average | Average |

Further Information:

- The most recent records for the Tarwin River at Meeniyan show that it was flowing at an average of 801 ML/d during October.   This is well above SGW’s restriction trigger of 5 ML/d

- Unregulated river flows are difficult to forecast.  SGW has only forecast the next 3 months due to low forecast skill beyond 3 months.   The graph is formatted to highlight low flow behaviour.

- Units are in megalitres per day (ML/d), where 1 ML is equivalent to 1 million litres.

Streamflow Outlook

Streamflow in the Tarwin River is naturally highly variable. For the year to date, streamflow has been around the long-term average. Water restrictions have previously only been enacted during extreme drought. Whilst precisely forecasting streamflow conditions is difficult, streamflow for the outlook period is currently expected to remain above the average for all climatic conditions. River flows are expected to remain above the 5 ML/d trigger for restrictions.

Streamflow Outlook

Streamflow in the Tarwin River is naturally highly variable. For the year to date, streamflow has been around the long-term average. Water restrictions have previously only been enacted during extreme drought. Whilst precisely forecasting streamflow conditions is difficult, streamflow for the outlook period is currently expected to remain above the average for all climatic conditions. River flows are expected to remain above the 5 ML/d trigger for restrictions.

South Gippsland Water

1300 851 636

www.sgwater.com.au

WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Urban Water Restrictions Outlook

Based on the recent streamflow record, the Bureau of Meteorology climate forecast and SGW’s daily streamflow forecast, no water restrictions are anticipated over the outlook period at the current time. An updated system outlook will be provided in March 2026. South Gippsland Water’s Permanent Water Saving Rules applies to all customers over the outlook period.

| Climate Scenario | Outlook |  |  |
| --- | --- | --- | --- |
|  | 1 Dec 2025 | 1 Jan 2026 | 1 Feb 2026 |
| Wet | PWSR | PWSR | PWSR |
| Average | PWSR | PWSR | PWSR |
| Dry | PWSR | PWSR | PWSR |
| Worst on Record | PWSR | PWSR | PWSR |

PWSR		Permanent Water Saving Rules

Action Plan

A list of priority actions for this supply system prior to the next update of the Urban Water Strategy in 2027 is presented below.  Further information on actions can be found in our 2022 Urban Water Strategy and our Price Submission 2023-2028 publication on our website. Victoria’s permanent water savings rules are always in place in South Gippsland, saving water on an ongoing basis.  For additional tips about how to save water see our smart water advice.

| Action Name | Timing |
| --- | --- |
| Water awareness and efficiency programs | Ongoing |
| Leak reduction | Ongoing |
| Reuse opportunities | Ongoing |
| Update water security outlook | Every November |
| Planning for long term options as per the Urban Water Strategy | 2022-2027 |

The information provided in this water security outlook is intended as a guide only.  An update will be issued if conditions change during the outlook period.

South Gippsland Water

1300 851 636

www.sgwater.com.au

South Gippsland Water

1300 851 636

www.sgwater.com.au

Blah

Blah

Water Consumption

Lance Creek Water Supply System monthly actual water consumption versus historical consumption

Water Consumption

Lance Creek Water Supply System monthly actual water consumption versus historical consumption

Table

Table

Water Supply Information

Water resources held by South Gippsland Water for the Lance Creek Water Supply System

Water Supply Information

Water resources held by South Gippsland Water for the Lance Creek Water Supply System