WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Water Consumption

Monthly water consumption for the Agnes River Water Supply System for August was above the average over the last five years. The July and September demand was close to the average demand over the last five years. It is expected that demand will be close to the historical average for the remainder of the year.

Water Consumption

Monthly water consumption for the Agnes River Water Supply System for August was above the average over the last five years. The July and September demand was close to the average demand over the last five years. It is expected that demand will be close to the historical average for the remainder of the year.

Water Supply Information

Water resources held by South Gippsland Water for the Agnes River Water Supply System are shown below.  Only 7% of the available annual entitlement from the Agnes River has been used in the current year to date (Jul-Sep 2025).  This entitlement is a legal right to access water, subject to availability.

| Water Component | Maximum Annual Entitlement | Volume Extracted 2025-26 | Volume Remaining 2025-26 |
| --- | --- | --- | --- |
| Agnes River | 1,617 ML | 121 ML | 1,503 ML |

The Agnes River Water Supply System supplies water to the townships of:

- Toora

- Welshpool

- Port Welshpool

- Port Franklin

These towns are supplied from a diversion weir on Agnes River below Cook’s Dam.  This dam has a capacity of 58 ML.  Once diverted from the river, water is treated and then stored in two clear water storages, which have a combined capacity of 6 ML.  These storages allow water supply to be maintained during short periods of low river flow during drought.

The Agnes River Water Supply System supplies water to the townships of:

- Toora

- Welshpool

- Port Welshpool

- Port Franklin

These towns are supplied from a diversion weir on Agnes River below Cook’s Dam.  This dam has a capacity of 58 ML.  Once diverted from the river, water is treated and then stored in two clear water storages, which have a combined capacity of 6 ML.  These storages allow water supply to be maintained during short periods of low river flow during drought.

Agnes River Water Supply System

Agnes River Water Supply System

South Gippsland Water

1300 851 636

www.sgwater.com.au

South Gippsland Water

1300 851 636

www.sgwater.com.au

WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Climate Conditions

Forecast climate conditions for the coming three months have considered the Bureau of Meteorology’s seasonal climate forecast for the region and local climate conditions in the year to date.  Winter/spring rainfall in the year to date has been less than the long-term average, and the Bureau’s climate outlook indicates an even chance of wetter or drier than usual conditions over the next three months.  Air temperature is forecast over the next three months to be warmer than usual for this time of year, and this trend is expected to continue beyond this period. After taking these factors into account, South Gippsland Water is forecasting on the basis of an average climate scenario.

| Chance of Exceeding Median Rainfall | Chance of Exceeding Median Maximum Temperature | This Year’s Winter/Spring Rainfall | Likely Outlook Scenario |
| --- | --- | --- | --- |
| 50-55% | Greater than 80% | Below Average | Average |

Further Information:

- The Agnes River Water Supply System Storages were 100% full at the end of October.

- Volumes shown in the storage outlook are start of month values in megalitres (ML), where 1 ML is equivalent to 1 million litres

Urban Water Restrictions Outlook

The volume in storage outlook for the Agnes River Water Supply System for the period November 2025 to October 2026 indicates that storage levels are expected to remain high relative to water restriction triggers over the coming year under the anticipated average climate scenario. If conditions were to become much drier than expected, restrictions could occur in summer/autumn.

Urban Water Restrictions Outlook

The volume in storage outlook for the Agnes River Water Supply System for the period November 2025 to October 2026 indicates that storage levels are expected to remain high relative to water restriction triggers over the coming year under the anticipated average climate scenario. If conditions were to become much drier than expected, restrictions could occur in summer/autumn.

South Gippsland Water

1300 851 636

www.sgwater.com.au

South Gippsland Water

1300 851 636

www.sgwater.com.au

WATER SECURITY OUTLOOK

NOVEMBER 2025

WATER SECURITY OUTLOOK

NOVEMBER 2025

Based on the volume in storage outlook and the Bureau of Meteorology climate forecast, no water restrictions are anticipated for the remainder of the year at the current time. Worst on record conditions do not appear possible following high spring streamflow. South Gippsland Water’s Permanent Water Saving Rules applies to all customers over the outlook period.

| Climate Scenario | Outlook |  |  |
| --- | --- | --- | --- |
|  | 1 Jan 2026 | 1 Apr 2026 | 1 Jul 2026 |
| Wet | PWSR | PWSR | PWSR |
| Average | PWSR | PWSR | PWSR |
| Dry | PWSR | PWSR | PWSR |
| Worst on Record | PWSR | Stage 4 | PWSR |

PWSR		Permanent Water Savings Rules

Action Plan

A list of priority actions for this supply system prior to the next update of the Urban Water Strategy in 2027 is presented below.  Further information on actions can be found in our 2022 Urban Water Strategy and our Price Submission 2023-2028 publication on our website. Victoria’s permanent water savings rules are always in place in South Gippsland, saving water on an ongoing basis.  For additional tips about how to save water see our smart water advice.

| Action Name | Timing |
| --- | --- |
| Water awareness and efficiency programs | Ongoing |
| Leak reduction | Ongoing |
| Reuse opportunities | Ongoing |
| Update water security outlook | Every November |
| Implement infrastructure to reuse wash water | By 2027 |
| Planning for long term options as per the Urban Water Strategy | 2022-2027 |

The information provided in this water security outlook is intended as a guide only.  An update will be issued if conditions change during the outlook period.

South Gippsland Water

1300 851 636

www.sgwater.com.au

South Gippsland Water

1300 851 636

www.sgwater.com.au

Blah

Blah

Water Consumption

Lance Creek Water Supply System monthly actual water consumption versus historical consumption

Water Consumption

Lance Creek Water Supply System monthly actual water consumption versus historical consumption

Table

Table

Water Supply Information

Water resources held by South Gippsland Water for the Lance Creek Water Supply System

Water Supply Information

Water resources held by South Gippsland Water for the Lance Creek Water Supply System