WATER SECURITY OUTLOOK

JULY 2026

Water Supply Information

Water resources held by South Gippsland Water for the Meeniyan Water Supply System are shown below.  Only 27% of the available annual entitlement has been used from the river in the past year (July 2025 to June 2026).  This entitlement is a legal right to access water, subject to availability.

| Water Component | Maximum Annual Entitlement | Annual Volume Extracted 2025-26 |
| --- | --- | --- |
| Tarwin River at Meeniyan | 200 ML | 54 ML |

Water Consumption

Monthly water consumption for the Meeniyan Water Supply System in the past year has remained largely consistent overall with the average demand over the last five years. Water consumption is expected to remain close to the historical average for the remainder of 2026.

Meeniyan Water Supply System

Meeniyan is supplied from the Tarwin River.

After diversion from the river, water is stored in a raw water basin prior to treatment and storage in a water tower.  This water tower helps South Gippsland Water to maintain supply during peak demand periods in the morning and evening.

South Gippsland Water

1300 851 636

www.sgwater.com.au

WATER SECURITY OUTLOOK

JULY 2026

Climate Conditions

Forecast climate conditions for the coming three months have considered the Bureau of Meteorology’s seasonal climate forecast for the region and local climate conditions in the year to date.  In the year to date, spring rainfall was above average, followed by a drier than usual summer and autumn, and the Bureau’s climate outlook indicates drier than usual conditions over the next three months.  Air temperature is forecast over the next three months to be warmer than usual for this time of year, and this trend is expected to continue beyond this period. After taking these factors into account, South Gippsland Water is forecasting on the basis of a dry climate scenario.

| Chance of Exceeding Median Rainfall | Chance of Exceeding Median Maximum Temperature | This Year’s Rainfall | Likely Outlook Scenario |
| --- | --- | --- | --- |
| 25-30% | Greater than 80% | Above average in spring, below average in summer and autumn | Dry |

Further Information:

- The most recent records for the Tarwin River at Meeniyan show that it was flowing at an average of 415 ML/d during March.   This is well above SGW’s restriction trigger of 5 ML/d

- Unregulated river flows are difficult to forecast.  SGW has only forecast the next 3 months due to low forecast skill beyond 3 months.

- Units are in megalitres per day (ML/d), where 1 ML is equivalent to 1 million litres.

Streamflow Outlook

Streamflow in the Tarwin River is naturally highly variable. Following a wet November, streamflow has gradually declined below the streamflow average during autumn. Streamflow remains well above historically drier years, and this is expected to persist throughout winter and spring. Water restrictions have previously only been enacted during extreme drought. Whilst precisely forecasting streamflow conditions is difficult, streamflow for the outlook period is currently expected to remain well above historic dry-year streamflow conditions. River flows are expected to remain above the 5 ML/d trigger for restrictions.

WATER SECURITY OUTLOOK

JULY 2026

South Gippsland Water

1300 851 636

www.sgwater.com.au

Urban Water Restrictions Outlook

Based on the recent streamflow record, the Bureau of Meteorology climate forecast and SGW’s daily streamflow forecast, no water restrictions are anticipated over the outlook period at the current time. South Gippsland Water’s Permanent Water Saving Rules applies to all customers over the outlook period.

| Climate Scenario | Outlook |  |  |
| --- | --- | --- | --- |
|  | 1 July 2026 | 1 August 2026 | 1 September 2026 |
| Wet | PWSR | PWSR | PWSR |
| Average | PWSR | PWSR | PWSR |
| Dry | PWSR | PWSR | PWSR |
| Worst on Record | PWSR | PWSR | PWSR |

PWSR		Permanent Water Saving Rules

Action Plan

A list of priority actions for this supply system prior to the next update of the Urban Water Strategy in 2027 is presented below.  Further information on actions can be found in our 2022 Urban Water Strategy and our Price Submission 2023-2028 publication on our website. Victoria’s permanent water savings rules are always in place in South Gippsland, saving water on an ongoing basis.  For additional tips about how to save water see our smart water advice.

| Action Name | Timing |
| --- | --- |
| Water awareness and efficiency programs | Ongoing |
| Leak reduction | Ongoing |
| Reuse opportunities | Ongoing |
| Update water security outlook | Every November |
| Planning for long term options as per the Urban Water Strategy | 2022-2027 |

The information provided in this water security outlook is intended as a guide only.  An update will be issued if conditions change during the outlook period.

South Gippsland Water

1300 851 636

www.sgwater.com.au

Blah

Water Consumption

Lance Creek Water Supply System monthly actual water consumption versus historical consumption

Table

Water Supply Information

Water resources held by South Gippsland Water for the Lance Creek Water Supply System